Using WinDAQ on the Dell Computer

To start a new Recording Session

- Press File  Record

- Click on the folder you would like your recording to be saved.

- Write your file name.

- Press “OK”

- Set either the desired time or bit size of the recording file.

- Do not press “OK” until you are ready to start a recording session.

- Do not press Ctrl + S unless you want to stop recording and save the file before the time runs out.

- Press Ctrl + S after the file reaches 100.0% storage used.

To Append to an already existing Recording.

- Press File  Record

- Find the file you want to append to. Click on it and Press “Yes” on the message that appears. You cannot override a file – appending is your only option.

- Set either the desired time or bit size that you want to append to the existing recording file.

- Do not press “OK” until you are ready to start a recording session.

- Do not press Ctrl + S unless you want to stop recording and save the file before the time runs out.

- Press Ctrl + S after the file reaches 100.0% storage used.

To make an Event Marker/Comment during a Recording Session:

- Highlight the channel you can to make a comment on by clicking on the channel number.

- Click Edit  Insert Commented Mark

- Write your comment. (E.g. “ID number of the bug” + “start” or “is on”)

- Press “OK”

- Load your bug and ensure to match your chamber number to your channel number.